Pawel Gburzynski

# TMP007
# infrared temperature sensor
# (preliminary) driver

September 16, 2017

© Copyright 2017, Olsonet Communications Corporation.
All Rights Reserved.

# Introduction

TMP007 is an infrared thermopile sensor manufactured by TI. Documentation available from the manufacturer (data sheet + specification) covers all the technical intricacies.

The sensor can be used to measure the temperature of a remote object located in front of it and, at the same time, take the temperature of the chip. Thus, the sensor returns two temperature values denoted TOBJ and TDIE. The sensor can perform an adjustment of the returned value of TOBJ based on TDIE and its gradient to improve the accuracy. The details are in the official data sheet.

In addition to returning values upon demand, the sensor can also trigger events on low and high thresholds settable independently for TOBJ and TDIE.

# Summary of the sensor's functionality

Two options affect the sensor's functionality as far as taking the measurement is concerned:

1. whether the transient correction of TOBJ should be applied (this is a binary option)
2. how many takes should be averaged into the returned value (the options are 1, 2, 4, 8, and 16)

Both temperatures are returned as 16-bit signed numbers representing the temperature in degrees Celsius times 32 (i.e., the value should be divided by 32 to yield the number of degrees).[1] The resolution (and the nominal accuracy of the results) is 1/32rd of a degree. The range is ±256 degrees. When active, the sensor takes measurements at the fixed intervals of 0.25 s (known as the conversion time). A new value is available for readout every conversion time interval multiplied by the number of averaged takes in a sample. For example, for 8 takes, the values are refreshed about every 2 s. Values can be read from the sensor more often than that, but they won't change more often.
[1] I am not sure, if we shouldn't try to normalize this somehow across the numerous temperature sensors that we use. Perhaps it wouldn't be a big deal to have it in 1/100's of a degree. Nonetheless, normalizing the format of returned values would be difficult, because different sensors return different kinds of additional information.

The selection of the number of takes to average includes three additional options corresponding to 1, 2, and 4 takes where extra delay is inserted between the takes to reduce current usage. With these (slow) options, the selection of 1 take translates into a 1 s measurement interval (0.75 s extra delay), and 2 and 4 takes need 4 s to complete each (3.5 and 3 s extra delay, respectively).

The events (interrupts) generated by the sensor are described by four thresholds representing: high limit for TOBJ , low limit for TOBJ, high limit for TDIE, and low limit for TDIE. Each of those limits is independently enabled. Additionally, a binary flag selects one of two options for generating events (interrupts). With one option, known as the INT mode, the event status, once raised, is only cleared when the chip's status register is read (which in our driver happens on every value read). This means, for example, that when a limit is exceeded, the alert condition becomes pending and it will remain so (no matter what happens to the temperature) until data is read from the sensor. Then, the condition will be cleared (even if the previous condition persists) until the nearest moment when a threshold is reached again. With the second option, the COMP mode, the event status strictly follows the actual condition (and is not cleared by reading the sensor value).

Note: the sensor also offers a voltage readout, although our present driver doesn't implement no direct interface to that readout. It can be implemented trivially, if needed.

# Driver interface

The sensor must be explicitly turned on, which operation determines its mode and parameters. This is accomplished by invoking:

tmp007_on (word options, word enable);

where options is a collection of fields composed by or'ring a few constants defined in tmp007.h. In particular, the number of takes to average a sample is selected by one of these constants:

Constant name	Takes	Conversion time (s)	Current (μA)
TMP007_CONFIG_AV1	1	0.26	270
TMP007_CONFIG_AV2	2	0.51	270
TMP007_CONFIG_AV4	4	1.01	270
TMP007_CONFIG_AV8	8	2.01	270
TMP007_CONFIG_AV16	16	4.01	270
TMP007_CONFIG_AV1_LP	1	1	85
TMP007_CONFIG_AV2_LP	2	4	60
TMP007_CONFIG_AV4_LP	4	4	85

The last column gives the current drain by the sensor when operanting in the corresponding sampling mode.

The remaining components of options are single bit flags represented by these constants:

Constant name	Meaning
TMP007_CONFIG_CORRECT	turns on advanced transient correction for TOBJ
TMP007_CONFIG_COMP	selects the COMP option for triggering threshold events, as opposed to the default INT option

The enable argument of tmp007_on selects which conditions should be reported as events, i.e., should trigger interrupts. It can be composed of the following binary flags:

Constant name	Meaning
TMP007_ENABLE_OH	high limit for TOBJ
TMP007_ENABLE_OL	low limit for TOBJ
TMP007_ENABLE_LH	high limit for TDIE
TMP007_ENABLE_LL	low limit for TDIE
TMP007_ENABLE_CRT	conversion ready

The last selection will cause an event whenever a new data becomes available. Note that data can be read from the sensor at any time, so there is no particular need to pay attention to the ”conversion ready” moments, but it is only updated at the conversion intervals prescribed by the averaging option.

The temperature limits for events can be set with this function:

void tmp007_setlimits (wint oh, wint ol, wint lh, wint ll);

where the arguments are word-sized signed integers (temperature can be negative). Note that a limit can be disabled either by setting it to an unreachable value or by clearing the corresponding enable flag. The former method is more convenient when the sensor has been already initialized.

The temperature format is the same for the measurements returned by the sensor and for the limits, i.e., they are signed integer values representing the number of degrees times 32 (the LSB corresponds to 1/32 of a degree Celsius, but the four least significant bits are ignored in a limit specification. In other words, the limits are specified with 0.5 degree resolution.

void tmp007_off ();

The operation turns the sensor off, i.e., puts it into the (inactive) sleep mode. On a board where the sensor is powered from a pin, this operation sets the pin to logical 0 completely removing the sensor from the power budget. In the connected sleep mode, the current drain by the sensor is between 2 and 4 μA.

## Reading values

The sensor value can be read in the standard way:

read_sensor (word st, address val);

The state argument is ignored (the sensor is always ready for data extraction). The second argument should point to an array of two words. The first word is filled with TDIE and the second with TOBJ.

Sometimes a value returned by the sensor is invalid (this is diagnosed by the sensor and can happen, e.g., when the supply voltage is low). In such a case, our driver fills both val words with zeros. Zeros are also returned when the sensor is switched off.

## Receiving events

As usual:

wait_sensor (SENSOR_TMP007, TARGET_STATE);

Normally, the function immediately blocks (forces release), so it should be the last statement in the current state. The issuing FSM is suspended and will be resumed in TARGET_STATE when the event occurs (as described above).

Note that in the COMP mode, the event will persist after the sensor values have been read, for as long as the condition holds. So the application willing to operate in this mode should disable or reset the limits (or verify the condition otherwise) before resubmitting the wait request.